Vertical integration:
Information flow in Batch plants beyond S88

Bernard E. Cubizolles
Siemens AG, Automation & Drives,
Nice, France

Route de Grenoble,
Nice la Plaine
BP 3263
06205 Nice Cedex 3
France

Tel: (33) 4 93 72 61 29 /
Mobile: (33) 6 07 97 90 36
mailto:bernard.cubizolles@nce.siemens.fr

Abstract

Part 1 of  ISA S88 standards provides the terminology and models for batch applications. Even if the Batch plant usually represents a small part of the total facilities, it is the key to the success of the overall production.

Since the standards were issued, vendors and users have successfully implemented the S88 recommendations. Many products are available on the market, which provide a very good answer to the process industry requirements. On the other hand, companies such as SAP are able to deliver solutions for large enterprises based on business requirements. Communication of information between these two worlds is not easy. Additional communication channels are mandatory to provide the required level of integration into a global Manufacturing Environment. The S95 standards will provide a description of the interface between the ERP (Enterprise Resource Planning) level and the Manufacturing Operations and Control level.

Additional communication channels on top of the production are required to allow integration of the Batch Process into the ERP modules and to provide the necessary information flow between the business administration and the production divisions of the enterprise. At the lowest level, the emergence of intelligent field instrumentation generates additional pieces of data, which also have to be passed through the process control level up into MRP/ERP. They are necessary to create a complete data model of the plant.

The problem is not presented from a vendor’s perspective, but more from a user perspective. The purpose is to identify and understand the challenge and the bottlenecks associated with the integration of the Plant Manufacturing Control Systems and the Enterprise Business Systems and finally to give some recommendations to users for a good integration especially with regards to the good usage of standards.

# The Tower of Babel Syndrome

Why has the tower of Babel project been a failure? Apart from the fact that, at the first glance, the task appears to be as big as the implementation of a full-integrated-top-to-bottom-information-system, we could imagine the problems associated with such a project:

- Bad project management

- Incorrect flow of information between the participants

- Possibly, lack of specifications.

- And ultimately, the project failed because people ended up speaking different languages...

The process of implementing a full integrated system "from top to bottom", basically from the field device to the ERP system to provide a smooth transfer of information all the way from the plant floor to the corporate level, certainly remains a challenge for most of the companies. Very few have been through the complete process that they are proud to show on the occasion of their big corporate meetings. Those who have actually implemented such a strategy have learnt from this experience considering the incurred costs and the impact on the company organisation.

What does integration mean after all? According to one of the most popular dictionaries: "The act or process of making whole or entire" or "Combining software or hardware components or both into an overall system" according to a dictionary of computing. As far as Process Control Systems are concerned, not all the components can fit in the same box. The integration job consists in making sure that the flow of information between these components makes the overall system behave like one single entity.

# The need:

In a manufacturing facility, the need for mastering the flow of information between the plant floor and the executive levels is dictated by the so-called Business Drivers. Some terms or labels that describe such business drivers include reduced cycle time, asset efficiency, agile manufacturing, supply chain optimisation, etc. Enterprises focus on these business drivers to meet competitive requirements in the marketplace.  Business drivers subsequently influence information sent to the production floor or are influenced by information gathered from the production floor. Annex B of the S95 Draft Standard provides an interesting reference on this topic.

# Implementation Issues

The implementation requires the translation of these needs into requirements for the actual systems. The main focus for a user is his product. He knows, better than anyone else does, how to make it and he is not concerned with the technical solution assuming that the system does the job. Furthermore he seldom has the resources that would help him to specify the computer part, the network part or the PLC part, if such devices have to be used. The same applies to the maintenance phase of the application life cycle. Modifications must be possible without re-engineering. This is underlined in the flexibility requirements.

Experts from the concerned areas are of a great help not only for validating the solution but also in transferring the latest of the technology into the plant. The increasing number of softwares adds to the confusion of the user. Even if the names or acronyms are supposed to be known, what they really cover is often not that clear. The specification process in that sense needs this sort of loop feedback.

# Different people, different views

The plant obviously appears to be different to the eyes of the various individuals involved. As seen from a control vendor perspective, the plant seems to be built around the control system. From the operator's point only the piece of equipment for which he is responsible matters. The people from the logistics tend to look at the plant as a black box, watching what is basically coming into the receiving area and leaving the stocks, all this being done on schedule. The corporate view is also a black box but dollar-wise!

Each and every person in this list has a defined task and fits into a defined role in the enterprise model. Their success depends on their ability to communicate. To help the users to communicate their requirements and because no model was available, the SP88 committee worked on a standard for Batch Control from 1988 until 1995 when the standards were published.

# About S88.01

The aim of the S88.01 standards is to describe the Batch Plant within the global enterprise.

It is "an international standard on Batch Control which provides standard models and terminology for defining the control requirements for batch manufacturing plants." (Ref. S88.01) The first deliverable of the S88 is a list of definitions which help different people with different backgrounds who try to describe the same problem and try to understand each other. The S88 basically acts as a common language providing a framework to make functional requirements understandable.

# Benefits of the S88

Furthermore, the S88 standards equally apply to both automated and manual plants, to simple processes as well as complex ones. It describes a methodology that separates the control from the equipment thus improving the flexibility of the overall process, simplifying recipes and improving the transportability.

The models describe a modular approach of the batch problem that ties very well into the object-oriented software solutions. It encourages specification and software re-use resulting in a drastic reduction of engineering costs over the total application life cycle.

Specifications produced according to the S88 are vendor-neutral which means not attached to a particular control system. It also means that they can be transferred from one control system to another with a minimal amount of efforts.

Experts are not required for modifying the control strategy or simply creating or editing recipes.

# Acceptance and interpretation

The terminology and the models are widely used and accepted by the vendors. So are they by the users in the English-speaking countries. Some countries like France or Germany carry on using their own reference, usually as a complement to S88: NAMUR in Germany, ASTRID in France.

The S88 is the main reference for the system control vendors. The standards do not dictate the implementation which means that we have as many representations and implementations of the models as we have products on the market. Therefore, there is very little compatibility between the various products.

Packages sold as being "S88-compliant" usually offer a full implementation of the models. As described in the S88, it is possible either to collapse or to expand the models if necessary. The experience shows that most of the users do not use the full implementation but rather "collapse" the models assuming that the software that they use allows for this.

# Confusion among the users

The confusion usually comes from the fact that the boxes or software modules do not match the functions described in the standards.

The following model (figure 1) is called "Control Activity Model" or "cactus model" because of its shape. The horizontal areas underneath the model represent the split of responsibility when using a PLC-based system. For example, the Unit Supervision represented as one box in the model, may reside partly in the Supervisory System and partly in the PLC's, thus is split between two BOXES. If the FUNCTION can be identified and is unique then it means that the integration work has been done already making this split transparent for the user.

Figure 1

Another important trend is the increasing intelligence of the devices placed at the lower level of the plant. Field devices such as drives, control valves are able to provide the control system with valuable information related to alarms, maintenance, etc. They are usually very well integrated into the control system. A red arrow (bottom right) on the drawing represents this good level of vertical integration.

The purple arrow (top left) points out that the integration is not as good when it comes to the top of the model: recipe management, production planning and scheduling, and production information management.

Most of these functions are beyond the scope of the Control System. Therefore, the integration job involves interfacing different pieces of software and hardware from different vendors together

# Process Partitioning & Scalability

The chemical engineer recognises the Unit as being the most important piece of equipment. The system should be modular enough so it can be adapted to the boundaries of the Areas, Units, and Equipment Modules. The architecture of the control system should not in any case dictate the control.

Modular also means that it fits a wide range of applications: from simple to complex, from small to big.

Most of the users want to start small and be able to increase the size of their system step-by-step by mapping the control strategy that they already have into the expansions.

# The Batch Control in the S95

The purpose of S95.01 standards (currently a Draft Standard) is:

"To create a standard that will define the interface between control functions and other enterprise functions based upon the Purdue Reference Model for CIM (hierarchical form) as published by ISA. The interface initially considered is the interface between levels 3 and 4 of that model. Additional interfaces will be considered, as appropriate. The goal is to reduce the risk, cost, and errors associated with implementing these interfaces. The standard must define information exchange that is robust, safe, and cost effective. The exchange mechanism must preserve the integrity of each system's information and span of control." (Ref. S95 Draft)

Unlike the S88, it is not limited to the Batch. The lower levels include Batch Control, Continuous Control, and Discrete Control.

The Batch Control addressed in the S88 is only a small part in the Functional Model below (figure 2). The arrows represent the flow of information between the levels thus the vertical integration of the ERP, MES and Control levels.

Figure 2

# S95 Equipment Representation

The S95 as well as the S88 standards present an equipment model.

The S88 equipment model is hierarchical. From top to bottom are:

- The Enterprise,

- The Site,

- The Area,

- The Process Cell,

- The Unit,

- The Equipment Module,

- The Control Module

Only the four last are within the scope of the S88.

Note that the S88 as far as equipment related information is concerned is fully "Unit-centred". The Unit is the main piece of equipment around which everything happens.

The S95 Equipment Hierarchy contains the S88 model. The S88 model is marked on Figure 3.

The process cell is usually within the scope of a single process control system therefore achieving a very good level of integration.

The user must also be concerned with the horizontal integration, which means manage the information flow between the Process Cell, the Production Unit and the Production Line. The utilisation of different technical solutions from different control vendors to solve the control problem for these areas makes the integration job more difficult. The bridges used on this occasion should not act as bottlenecks within the application.

The overall performance of a system is determined by the speed of its slowest components. For example, in case of an alarm, a fast Ethernet network running through out the plant will be as inefficient as the slowest existing RS232 or Hart connection at the field level. A migration strategy, which preserves obsolete components, could jeopardise the overall performance of a system.

Heterogeneous systems and legacy systems also make the problem more complicated. Fusions and acquisitions are daily events. Multi-national companies have to link systems from different vendors that sometimes do not even speak the same language.

Site to site integration is far from being a reality. The risk is high of creating islands of automation and islands of information linked by bridges. Again, the performance of the bridge will determine the overall performance of the system.

# Integration Requirements

In short, the user should check:

- How the various components from a single vendor are actually integrated such as how the drives interface to the process control system or how easy it is to gather batch data from the control system,

Figure 3

How components from his various suppliers can be interfaced together,

- How his sites can be interconnected in a smooth way,

- That horizontal integration is achieved as well.

The technology exists; the business levels and the control level are both highly mature. However, part of the office technology has not reached the plant yet.

The main problem comes from the complexity of managing such projects on the basis that several kinds of people using different languages are involved. The IT folks know nothing about automation problems and vice versa, it's a known fact!

The challenge is to find one solution for two worlds and it is a teamwork that should involve the relevant experts at all levels.

# Set the goals

What level of integration is really needed? What is the real scope of the project?

The market is not only for huge ERP systems exchanging Gigabytes of data. It may happen that the right solution fits in a PC.

What is the objective in terms of performance? What is the time base? What part of the process is critical?

Identify safety issues, which are not covered by the standards.

Modern networks are capable of handling huge amounts of data. This is not an excuse for uploading all and every piece of data from the plant floor up to the ERP system. A member of the SP95 asked the subsequent question: do we allow the bean-counters to open and close the valves? Certainly not.

# Planning the integration

Clearly define the role and responsibility of everyone involved in such projects.

Training is key:

- First to help engineers to keep up with the fast pace of the technology

- Second, to broaden the area of competence of each of the participants. In fact, it should overlap what the scope of his work would normally require.

Integration is only about managing flows of information, which translates into managing flows of data when it comes to the actual implementation.

The most critical task is to identify what pieces of DATA need to be translated it into valuable INFORMATION and then to check the pertinence and the quality of this information.

With the increasing computing power of peripheral devices, more and more intelligence is decentralised. Field devices for example are able to generate a complete set of messages for the control system based on a few inputs and outputs. These messages include maintenance information, modes and states handling, etc.

# A few keys to a successful Integration

Any piece of software can be interfaced to any other piece of software. The same thing applies to any computer machine. The questions are:

- How much does it cost?

- How much time does it take?

- What will be the performance of the overall system?

- What about maintenance?

- How can it be upgraded?

To minimise the risk in terms of getting strong negative answers to the above questions, standards are of great help.

Standard products and technologies will be favoured. They are sometimes de facto standards like Windows NT. Also consider emerging standards.

Co-operation between vendors also helps in minimising the integration effort. It ensures a large amount of software compatibility and ensures consistency (look and feel, terminology and naming conventions if they are outside the scope of international standards).

Most of the software vendors propose "approved interfaces" to other vendor's products. Such modules carry several advantages. They are usually:

- Configurable,

- Optimised,

- Documented,

- "Upgradable",

- Much cheaper than a specific development at no risk

International Standards like S88 play a key role for all the reasons already mentioned and should be extensively used.

Special attention should be paid to topics, which include control functions that largely fall outside the scope of the S88 standards such as personnel and environmental protection, (See S84.01, Application of Safety Instrumented Systems for the Process Industries, or IEC 61508), production planning and scheduling, production information management

# The Challenge for standards

The S88.01 was published in 1995. It took almost seven years to come to a consensus.

Part 2 covers data structures and guidelines for languages. The objective of part 2 is: " To provide a standard data structure for batch systems that will simplify the task of data communications within the system architecture and to provide a standard data structure batch control language to simplify the programming, configuration tasks, and communication between the various components of the system." (ref. S88.02 draft)

Both the S88.02 and the S95.01 will be issued this year.

The challenge for these standards is to be known, accepted and applied. The experience that we have with the S88 part 1 shows that it takes time.

The WBF (World Batch Forum) promotes the exchange of information related to the management, operation and automation of batch process manufacturing. It is a non-commercial association of end-users, vendors, consultants and academics. The WBF hosts an annual conference with formal presentations and technical papers. The next WBF meeting is scheduled for Sunday, April 16 to Wednesday, April 19 in Atlantic City, New Jersey, USA.

Organisations such as the JBF (Japanese Batch Forum) and the FBF (French Batch Forum) promote the standards and spread the information locally.

The second challenge for the Standards: to be simple enough so that they are not "for gurus only". Even if some of the topics covered are difficult, the standards should participate in the demystification of the subject.

As the standardisation document itself should remain of a manageable size, implementation guides with application examples are mandatory. They strongly contribute to the dissemination of the message by providing the supplement of information required.

Standards exist to help and serve the users not to please system vendors and engineers.

In Europe, a stronger participation of the users in the committees and forums will definitely help in the development and the application of these standards