WBF-WG “Flow Analysis”

Draft  Technical Report

WBF-WG “Flow Analysis”

ISA-88 Modeling using Flow Analysis

Draft 1 - October 2001

This document is a draft that represents work being done by a WBF Working Group

WBF grants permission to anyone to reproduce and distribute copies of this WBF draft, in whole or in part, but only for the following purposes and only as long as the recipient is not charged any fee for the copy (nor may the copy be included as part of a package with other materials or presentations for which a fee is charged):

1. Review of and comment on the draft standard;

2. Provide to others for review and comment;

3. Promotion of the WG work; or

4. Informing and educating others about the WG.

In addition, all copies must reproduce a copyright notice as follows:

© Copyright 2001 WBF. All rights reserved. Reproduced and distributed with permission of WBF.

WBF reserves all other rights to the draft. Any other reproduction or distribution without the prior written consent of WBF is prohibited.

The reader is cautioned that this document has not been approved and cannot be presumed to reflect the position of WBF or any other committee, society, or group.  Although every effort has been made to ensure accuracy, neither WBF, members of WG, nor their employers shall be held liable for errors or limitations.

WBF-WG_FA Draft on Flow Analysis

Copyright © 2001 by WBF.  All rights reserved.  Not for resale. Printed in the United States of America

World Batch Forum

107 S. Southgate Drive

Chandler, Arizona 85226

Phone:  480-893-8803	Fax:  480.893.7775

E-mail:  deann@kc-a.com

- Preface

WBF working groups provide an unbiased means for the investigation and development of work items of interest to the members.  People of like interests meet (in person or electronically) in order to delve into specific topics.  Although the topics addressed will be determined by each working group possible topics are:

- XML based batch data exchange formats

- Exception handling

- Continuation or publication of EBF working group results

- Process plant analysis based on ISA-88

- Procedure Function Chart examples

- Good practices

- Benchmarks

While the WBF will own the copyright to all WBF Working Group Reports, all working group members are given royalty free use of the WBF Working Group Reports for personal and professional purposes.  This includes use by the employers of working group members, to use work products of the working group, including any work published by the working group.

This draft technical report has been issued by the World Batch Forum (WBF), Working Group “Flow Analysis”

The following served as members of this group:

| Alfonso Sancho | HONEYWELL |  |
| --- | --- | --- |
| André Giraud | RHODIA | France |
| b. Courot | STARREN | The Netherlands |
| Bernard Cubizolles | ASOPHIA | France |
| Byron Elliman | SIEMENS | UK |
| D. Brick | AEGIS Analytical | USA |
| Dave Emerson | YOKOGAWA | USA |
| D. Clermont | DANONE | France |
| Didier Joannes | DANONE | France |
| Ed Lynch | PFIZER | USA |
| Elbert Moll | STARREN | The Netherlands |
| F. Bogaard | ? |  |
| Francis Lovering | CONTROL DRAW | UK |
| Jacky Tachon | AVENTIS | France |
| Jacques Cothenet | RHODIA | France |
| Jean-Francois Cardot | RHODIA | France |
| José Relland | ALPHA-CIM | France |
| mcelenk@hotmail.com ? | ? |  |
| Patrick Richard | AVENTIS | France |
| Paul Jones | RHODIA | UK |
| Philippe Levrard | ARC INFORMATIQUE | France |
| Rémi Métras | RMB | France |
| Robert Despins | FOXBORO | France |
| slinehan@zentek.ie ? | ? |  |
| Steve MacLeod | JACOBS ENGINEERING | UK |
| Tom Fisher | LUBRIZOL | USA |
| Tony Simmons | CONSULTANT | UK |
| Viruega | ENSGI INPG | France |

The following where active contributors to this report:

| Eric Vitté | SCHNEIDER ELECTRIC | France |
| --- | --- | --- |
| Jacques Grossin | AVENTIS | France |
| Jean Vieille* *** | CONSULTANT | France |
| Jean-Michel Rayon | CONSULTANT | France |
| Jean-Pierre Bovée | AVENTIS PHARMA | Germany |
| Omar Akdeniz** | SINFOR AUTOMATION | France |

*	Editor

** 	FBF WG4 chair

***	WBF “FA” WG  chair

- Contents

- Page

1	Scope	11

2	references	12

2.1	Normative references	12

2.2	Other documentation	12

3	Definitions	13

3.1	Adjacent (Control Module)	13

3.2	CM - Control Module (ISA-88 Control Module as Elementary Equipment Entity)	13

3.3	DM – Device Module (ISA-88 Control Module as individual instrument)	13

3.4	E3  - Elementary Equipment Entity	13

3.5	FBD - Flow Breaking Device	14

3.6	FA - Flow Analysis	14

3.7	Flow Breaking Devices may support inherent interlocks that prevent erroneous automatic or manual handling according the safety needs.  Flow	14

3.8	Other ISA-88 definitions	14

4	Basics	15

4.1	Origin	15

4.2	Production Plant form Flow Analysis view	16

4.3	Physical view : Elementary Equipment Entities (E3 )	17

4.4	Functional view: Process Functionalities	18

4.5	Equipment confinement	18

5	ISA-88 physical model and Flow analysis	20

5.1	Discussion on CM definition in ISA-88	20

5.2	Discussion on EM definition in ISA-88	21

6	Control module as elementary equipment entity	25

6.1	Features	25

7	E3 Breakdown rules	27

7.1	Types of E3	27

7.2	Breakdown rules	27

7.3	Aggregation constraints	28

8	From E3 to CMs and DMs	29

8.1	Control Modules	29

8.2	Device Modules	29

8.3	Uniqueness of actuator control	29

8.4	Flow Breaking Devices	29

8.4.1	FBD attachment Rules	30

8.4.2	Adjacent CMs identification	30

9	Applications of flow analysis	31

9.1	Flow Integrity Interlocking	31

9.2	Content Compatibility Interlocking	32

9.3	Capacity Constraint Interlocking	33

9.4	Production Information Management	34

10	Exception handling	35

10.1	Overview	35

10.2	FA exception handling	36

10.2.1	At Device Modules level	36

10.2.2	CM level	37

10.2.3	Phase level	37

10.2.4	Example of fault propagation	37

11	Objects design considerations	38

11.1	Device Module design	38

11.1.1	Overview	38

11.1.2	Suggested attributes of Dms	39

11.2	Control  Modules design	39

11.2.1	CM state chart	39

11.2.2	CM suggested attributes	40

12	Annexes	41

12.1	Implied Project methodology	41

12.2	Annex A – E3 Breakdown examples	42

12.3	Annex C Method history and evolution	43

12.4	Annex D : Implementation exemple	43

Annex E - Usage Questions (FAQ)	43

- list of Figures

- Page

Figure 1 - Decision actors in plant operation	15

Figure 2 – Flow integrity concern with complex networked process cells	16

Figure 3 – Flow Analysis conceptual view	17

Figure 4 - Possible ISA-88 physical model topology	22

Figure 5 - Common ISA-88 physical model topology	23

Figure 6 – Suggested FA - ISA-88 physical model topology	24

Figure 7 Flow Integrity Interlock	31

Figure 8 – Product Compatibility Interlock	32

Figure 9 – Capacity constrained resources interlock	33

Figure 10 – DMs fault propagation	37

Figure 11 – General Fault propagation	37

Figure 12 – Device Module control	38

Figure 13 – Control Project specification lifecycle	41

Figure 14 – Regulatory control possible implementation	42

- Introduction

The ANSI/ISA-88.00.01 standard does not provide much information for the specification of Control and Equipment modules boundaries. However, it provides quite consistent guidelines to define the upper entities of process and procedural models.

Thus, many ISA-88 implementation reports raise the issue of Process Cell breakdown into its lower level components (i.e. Units, Equipment Modules and Control modules) and exception handling. From the “Top-Down” to the “Bottom-Up” through the mixed approaches, each project involves user preferences through specific, often inconsistent guidelines.

In 1986, the French chemical giant RHONE POULENC began to develop a formal control design methodology to ensure the operation safety of its hazardous chemical plants. The result was a method based on analytical check-up of material and energy flows to define elementary equipment entities and process functionalities. The benefits were inherent interlocks at the actuator level to enforce operation safety whatever is the operation mode and cross-contamination prevention. Another consequence is the deterministic, straightforward rules to model Process Cells. The method was known in France as ASTRID (trademark owned by RHONE POULENC) or DELTA NODES (trademark owned by JMR Conseil)

The aim of this report is to introduce within the ISA-88 models the critical elements of this method to enforce physical and equipment procedural model design.

This work is intended to help people from process design, operation and process control communities to well understand these concepts and to communicate together, producing robust and safe applications on a consistent basis.

It should also help vendors to develop supporting tools based on consensual concepts.

Vision

The method addresses very practical issues and is mainly used to design process control system applications. However, it has serious impact on projects development, process design, operation and safety. Also, it is important that process control design view is shared between Process, Operational and Control parties on a common approach and terminology.

Automation Vision

Process control engineers that are not trained in flexible batch control tend to design control based on product processing requirements, extensive experience, process and operational people audit and available instruments. ISA-88 implies a radical change for most of them, thinking equipment capabilities on one hand, product processing using process cell capabilities on the other hand. Flow Analysis method goes further in focusing on equipment layout and inherent capabilities without taking care about instruments at first. The lack of understanding of this basics lead to projects uncertainties.

- Well presented, the method will help process control engineers to think Process first, Control next, improving communication with others and reducing project failures.

- It will also clearly define the domain of responsibility of Process control engineers against process control global design

- Because it addresses shaded area of ISA-88, the method will help ISA-88 understanding and implementation for newcomers

- The consistent design induced by the method is a key for validation. Objects are appropriately demarcated: process design changes are exactly mirrored in the control system; side effects of changes are limited as much as possible.

Control System design vision

Flow Analysis projects have often been confronted to implementation difficulties. Specific “Engines” had to be developed in order to support basic mechanisms expected from the method concepts. The main concern is the lack of clear requirements for these mechanisms. The goal is to provide consistent requirement specification to allow adequate implementation in any control system.

Process design vision

Process engineers are much well prepared to understand and apply ISA-88 modelling concepts. However, they are not interested in control details and ordinary suffer of many specific questions from PCS engineers. The method should make them comfortable with Control design because it exactly sticks on equipment engineering.

Operational vision

Operators and operational management often complain about unexpected or incomplete behaviours of the control system. The method should help them to contribute to build and validate detailed specifications and make them confident in the control system design.

Business vision

The method addresses a subset of ISA-88 implementation issues. The intended benefits are those of ISA-88. Particularly, the method impacts on:

- Object Oriented Design benefits: objects independency, reusability. The gain is for subsequent projects following a first “template”

- Dramatic simplification of control design: most of exception handling and interlocks are inherently provided by the method, reducing the cost of implementation

- Clarity of specifications that accompany all the PCS lifecycle: Requirement specification, Validation tests, and Operational guide.

BATCH CONTROL

ISA-88 Modeling using Flow Analysis

# Scope

The Flow Analysis addresses:

- Process cell breakdown at the Equipment Modules and Control Modules levels in ISA-88 sense

- Equipment Coordination, Basic and Procedural Control design

- Exception handling within equipment domain

- Actuators Interlocks and modes

The expected results will be an ISA-88 compliant guideline to address specific issues encountered in actual implementations of the standard.

The expected benefits are:

- A consistent set of breakdown common sense rules that leads to a standardized modularisation within a particular context.

- Improving of operation safety

- Making Exception Handling easier

- Enabling a higher level of reusability because of modularisation consistency

# references

## Normative references

The following normative documents contain provisions, which through reference in this text, constitute provisions of this part of this report. At the time of publication, the editions indicated were valid. All normative documents are subject to revision, and parties to agreements based on this part of this standard are encouraged to investigate the possibility of applying the most recent editions of the normative documents indicated below. Members of IEC and ISO maintain registers of currently valid normative documents.

IEC60902:1987, Industrial-process measurement and control : Terms and definitions

IEC61512:1997, Batch control- Part 1:  Models and terminology

ANSI/ISA-88.01-1995, Batch control- Part 1:  Models and terminology

ANSI/ISA-88.00.02-2001, Batch control - Part 2: Data Structures and Guidelines for Languages.

## Other documentation

The following documents are related to ASTRID or DELTA NODE methodologies. The present report does not comply with the terminology and additional features used or expressed in these documents. However, the reader may find helpful information about the genesis of the methodology.

- “Methodological guide for the analysis of multipurpose batch process plants” RHONE-POULENC N° 501/93.875 - GET 5/EM/519/97/1119 - GT ASTRID

- “DELTA NODES Automated flows methodology” JMR Conseils N° JMR86/R01-2001_v3

- “A Flow Stream Approach for Process Cell Modularization” By François Lebourgeois (Rhône Poulenc), Jean Michel Rayon (JMR Conseil) and Jean Vieille (Consultant) Presented at the World Batch Forum Conference in Atlantic City (NJ, USA) on 23/04/2000

# Definitions

For the purposes of this part of this report, the following definitions apply. Definitions of ISA-88 are included when clarification or interpretation are suggested.

All terms defined here are italicized in the text.

Abbreviations are included in the definitions. They are capitalized in the text

## Adjacent (Control Module)

Control Modules that Flow Breaking Device links to its owning Control Module are “adjacent” to it.  When defined, this adjacency is used to support the application services based on Flow Analysis.

## CM - Control Module (ISA-88 Control Module as Elementary Equipment Entity)

ISA-88 definition: “The lowest level grouping of equipment in the physical model that can carry out basic control.

NOTE — This term applies to both the physical equipment and the equipment entity.”

Control Module corresponds to an Elementary Equipment Entity. As an Equipment Entity, it represents the Equipment itself AND the associated Control.

For the Flow Analysis purpose, it has to be differentiated from the atomic level corresponding to a individual instrument (see bellow)

## DM – Device Module (ISA-88 Control Module as individual instrument)

Device Module corresponds to a commonly used definition of Control Module. It represents the instrument (sensor, actuator) and the associated software that performs its basic control: instrument failure detection, information standardization, manual / auto operating mode (for actuators), instrument dedicated interlocks…

A Device Module is always part of a Control Module and definitively attached to it.

Device Modules play a particular role in Flow Analysis when dealing with Flow Breaking Devices.

## E3  - Elementary Equipment Entity

Elementary Equipment Entity is smallest physical element of the production system that is considered from the Flow Analysis purpose. It corresponds to ISA-88 Control Module definition without its control part.

## FBD - Flow Breaking Device

Flow Breaking Devices mark the limit between Elementary Equipment Entities. As a Device Module, a Flow Breaking device is part of its owning Control Module. Other Elementary Equipment Entities it is in contact with are adjacent to it.

## FA - Flow Analysis

Flow Analysis is a methodology based on analytical review of processing equipment in order to specify process oriented equipment capabilities.

It is safety-focused, providing self-immune environment against automatic control and manual operation errors regarding material and energy handling.

## Flow Breaking Devices may support inherent interlocks that prevent erroneous automatic or manual handling according the safety needs.  Flow

Flow is the leading concept of Flow analysis. It can be figured by 2 definitions:

- The stream of product or energy that takes place within a set of equipment working together on it

- The set of adjacent Elementary Equipment Entities that supports an Equipment Procedural Element.

This last definition corresponds to ISA-88 Equipment Module definition.

## Other ISA-88 definitions

The following terms are defined in ISA-88.01 and ISA-88.02 standard. They are not repeated here, the reader should refer to the original documentation

- Unit

- Process Cell

- EPE - Equipment Procedural Element

- Phase

- Operation

- Procedural Control

- Coordination Control

- Basic Control

- Exception Handling

- Procedural Model

- Unit Procedure

# Basics

## Origin

In 1988 RHONE POULENC Health, Safety and Environment Management in collaboration with Jean-Michel RAYON introduced a new methodology for developing Operation Specifications for Multi-Product Process Cells. This work was supported by RHONE POULENC "Process Control Safety" WG, and concerned the 4 decision actors in plant operation:  Operator, Safety Interlock System, Control System and Breakdown:

Figure 1 - Decision actors in plant operation

ASTRID stands for “Analyse STRucturée pour l'Industrialisation des ateliers Discontinus » in French. It can be translated by « Structured Analysis for Discontinuous Process industrialization ».

The objective was to define a way for the safe operation of a multipurpose process cell with or without automation.

The simple example bellow illustrates the difficulties that have to be faced of when dealing with such flexible process cells to avoid any cross contamination or pollution by opening a valve which does not contribute to the intended functionality (here, transferring from T2 to T8).

Figure 2 – Flow integrity concern with complex networked process cells

## Production Plant form Flow Analysis view

- A production plant uses, moves, acts on 2 basic flows:

  - Material Flow

  - Energy Flow

- … using suitable equipment

  - Liquid material : Pumps, valves, pipes, vessels

  - Solid or Packed material : conveyors, lifts

  - Powdery material : roots, pipes, conveyors

  - Electrical energy : cables, bus bars, transformers, breakers

  - Thermal Energy (i.e. steam):  pipes, exchangers…

  - Mechanical energy : agitators

  - …

- … performing specific or more complex actions

  - Loading, Emptying, Filling, Distillation, Filtering

  - Heating, stirring,

Whatever is the part of the plant to be considered, any production system can be viewed as follow:

Figure 3 – Flow Analysis conceptual view

- The considered part of the plant (the studied production system) appears as a set of material and energy networks:

- Sources and sinks are the connection points that limit the scope of the analysis

- Holding / Transformation nodes are the place were material or energy is transformed or stored. They are equipment such as vessels, reactors, transformers, exchangers.

- Flow vectors are the part of the equipment that allows flow to occur and holding / transformation nodes to be linked. They are equipment such as pipes, cables, conveyors, carriers…

## Physical view : Elementary Equipment Entities (E3 )

- These 2 last elements are Equipment Entities.

- Any production system (i.e. a process cell) can be considered as a set of “closed sections” made of equipment entities regarding the different flows of material or energy that can occur in it. These closed sections are identified when all Flow Breaking Devices are operating accordingly.

- These closed sections are the lowest level of physical equipment modeling. They are called Elementary Equipment Entity or E3.

- E3s can represent containers (the equipment itself) as well as their content (the product or energy inside). They hold the associated information (equipment status, product id…).

- When not running, the production system is basically considered as a collection of static, independent E3s. Unused (non operating) equipment lies disconnected on the workshop floor. It is not presumed to be assembled in a particular shape until it is used to make something.

- Some parts of the Process Cell cannot be considered as closed, but rather as infinite capacities that supply or consume product or energy. They represent Process Cell connections to raw or finished material, ancillary fluid or utilities (Sources and Sinks on the diagram).

## Functional view: Process Functionalities

In order to make product, a production system must:

- Provide the required basic process functionalities its equipment can capable of doing.

- Orchestrate these process functionality following the product processing rules

This is the ISA-88 concept of separation between equipment control and process control. Flow Analysis interprets the process equipment functionality as follow:

- In order to provide a process functionality, the production system (initially considered lying dismantled on the floor) needs to assemble one or several E3s.

- These E3s are adjacent by definition enabling one or more Flows.

- Fluid or Energy within a Flow is supposed to be homogeneous: generally a same unique fluid travels or occupies the Flow

- In some cases (i.e. mixing), several Flows may cohabit in the same E3 .

- Any combination is allowed from the control point of view (however, it should be consistent with the mechanical design).

- The set of E3s assembled for a specific process functionality is exclusive of it. It represents the physical extent of its execution. The same E3s may be part of several Flows (possibly identical) built for different process functionalities.

- A process functionality can execute only if the corresponding E3s are available to it (not currently used by another process functionality or explicitly diabled)

## Equipment confinement

These basic views lead to the notion of equipment confinement that is the key for operation safety, which Flow Analysis pretends to address:

- E3s that are not part of a Flow that is assembled for a specific functionality may need to be prevented to “leak” to or from external E3s.

- Flow breaking Devices at the boundaries between 2 or more E3s must take into account their actual operating context of all its ends:

  - Functional context (Instance of process functionality being executed, Batch Id…)

  - Equipment status (maintenance status, sanitary status, actual / available capacity…)

  - Content status (contained fluids and energy, lot number…)

- Taking advantage of this knowledge, Flow Breaking Devices operation can be conditioned by evaluating the contextual compatibility of the E3s it links. This provides inherent low-level safety interlocking mechanisms.

# ISA-88 physical model and Flow analysis

Flow analysis only impacts at the lowest level of ISA-88 physical modeling. It does not address Process Cell and Unit breakdown

However, it largely impacts on Equipment Modules (EMs) and Control modules (CMs) specification, introducing specific interpretations and rules for their identification.

ISA-88 models are either extensible or collapsible. In the standard, the figure that displays the physical model does not highlight the actual possible topologies: Control Modules are hierarchically under the dependency of Equipment Modules and Equipment Modules are hierarchically under the dependency of Units. In fact, the model is much more flexible. This section details the roles and interpretations of CMs and EMs as well as the proposed vision for supporting Flow Analysis.

ISA-88 adopts a UNIT-centric approach: procedural control manages Units and executes unit procedures within these units. Procedural control bellow Unit Procedure level should not act outside the boundaries of the unit, except through the use of Equipment Modules that can be shared by several units.

Flow Analysis does not rely on that level of breakdown. Process Cells and Units may exist; however FA simply focus on actual Flows that can occur within the plant regardless its extend. When a higher-level methodology such as ISA-88 is used, it adds design constraints that do not inherently exist in FA.

Conversely, FA introduces practical rules to manage equipment entities that generally add constraints that may not be explicitly stated in ISA-88.

The result of using FA and ISA-88 together is a restricting context that should take advantage of both and do not lose their respective benefits.

The purpose of this document is to help to reach this goal.

## Discussion on CM definition in ISA-88

According to ISA-88, a Control Module is  “The lowest level grouping of equipment in the physical model that can carry out basic control.”

Control Module is the Elementary Equipment Entity it represents to build Equipment Modules or that can be directly incorporated within Units or Process Cells, i.e.:

- A piece of pipe between manifolds without any instrumentation

- A tank with its bottom valve

- A feeding line from a manifold to the inlet valve

- A heating circuit including jacket, cold/hot fluid isolating valves and control valve, heat exchanger

- An N2 distribution line

- A Smelting furnace

- …

The model is recursive at this level: the definition encompasses individual entities as well as hierarchical aggregation of these entities.

The SP88 contributors have early felt the importance of Control Module, and its role is largely explained in the ISA-88 training courses.

However, practitioners are in the habit of considering Control Modules as the software that accompanies any instrument in order to standardize their control within the entire control system: analog input control including measure linearization and alarming, on-off actuator with 2 limit switches, variable speed motor control…

This interpretation does not fully match the definition in the sense that it focuses on the instrument rather on the equipment while ISA-88 Equipment Entity (as CM or EM) is the combination of Equipment + Control. However, it matches well as an interface to link Equipment Modules to Processing equipment. Also, ISA-88 does not address this role specifically.

As a result, actual ISA-88 implementations often ignore CMs as Elementary Equipment Modules. Phases act directly on devices through CMs appearing to be only Device Modules. A matrix is described within the Phase to set the individual devices to the desired state according the Phase’s needs.

Flow Analysis explicitly distinguishes these 2 roles of CMs:

- “Device Modules” (CM-DMs or DMs) correspond to “instruments envelopes”

- “Control Modules” (CM-E3 or CMs) correspond to Elementary Equipment Entities.

## Discussion on EM definition in ISA-88

According to ISA-88, an Equipment Module is “A functional group of equipment that can carry out a finite number of specific minor processing activities.”

Once again, the model is recursive at this level. EM supports procedural control: A Phase may run on a specific Equipment Module.

Reading through the standard and looking at actual implementations, Equipment Module supports 2 usages:

-	When it models an exclusive part of a Unit, it represents a breakdown of this Unit. This breakdown is necessary to allow several Phases to run on a particular Unit at the same time.

-	When it models a set of equipment that is not an exclusive part of a Unit and that can not be qualified as Unit, it represents a stand alone equipment that is directly under the Process Cell dependency. Technically, it looks like a Unit.

Flow Analysis does not specifically address the second usage.

However, the first usage is the primary focus of Flow Analysis. A Flow created to perform an EPE is an Equipment Module in the ISA-88 sense because it represents a collection of Control Modules gathered for the functionality needs.

The following figure shows a possible ISA-88 compliant topology. Control Modules can be embedded within other CMs, they can be part of an Equipment Module, a Unit or a Process Cell. The role of the CM as an individual instrument (classical “flat model” interpretation) or as an Equipment Entity is not differentiated.

Also, the role of an Equipment Entity as a Unit decomposition or as a stand-alone set of equipment is not obvious.

Figure 4 - Possible ISA-88 physical model topology

The next figure shows the simplified, commonly applied physical model. Generally, only one Equipment Module level is used under the unit. The equipment modules connect to the process through Control Modules defined as Device Modules.

Shared Control Modules are attached to all the Equipment Modules that need to act on them. Arbitration must be mastered to avoid conflicts (often at the phase level)

Figure 5 - Common ISA-88 physical model topology

The next figure shows the FA suggested layout. The main features are:

-	Control Modules are differentiated according the actual purpose (Device Modules become DMs, Elementary Equipment Entities remain CMs)

-	Equipment Modules that are subsets of a Unit to support independent phases are not separately identified: rather than defining an Equipment Module for the purpose of a particular phase, the phase is associated with the set of Control Modules it needs. This collection of CMs is allocated by the phase during execution, creating a “dynamic Equipment Module” without the need of an explicit declaration. The phase can start only if all the requested CMs are free (not allocated by another phase).

- This arrangement systematically imposes the usage of Equipment Modules to support phases without constraining the flexibility.

Figure 6 – Suggested FA - ISA-88 physical model topology

# Control module as elementary equipment entity

This section discusses the features and attributes and roles of the CM considered as Elementary Equipment Entities based on Flow Analysis considerations.

CM and E3 have the same meaning when not considering control aspects.

Flow Analysis is based on material or energy Flows. A E3 represents a section of a Flow. The breakdown of the facility into E3 is made by applying precise rules. Because the E3 is the lowest level equipment entity, the breakdown is independent of the higher level modeling (e.g. E3 represents an elementary piece of equipment that can always be completely embedded within an upper level equipment entity).

## Features

This section detailed the features of CMs as E3 based on FA concepts, needs and constraints Some of them may or not implied by strict ISA-88 implementations. However, they should never contradict the standard.

- CM is the smallest Equipment Entity that is used to build the Process Cell ISA-88 physical model

- It is an elementary equipment subset

- It generally includes instruments (sensors, actuators). However, CM without any instruments can exist.

- Its boundaries are defined by a set of rules defined by FA

- CM is the mandatory interface between the processing equipment and the functionality to be expressed by this equipment.

It helps to level the differences between similar set of equipment: phases drive CMs by sending verbs that more generically link to the process than acting on single devices.

Example: “Pump to Process”, “Recirculate”

- CM deals with Basic Control. It clarifies the phase description and lighten the overall system code be delegating this control to a lower level.

For example several phases can ask a particular CM to simply “Pump to Process”, while the corresponding functionality is extensively described only once in the CM.

- CM supports the very basic services provided by the considered equipment entity.

- Some CMs do not embed any functionality excepted individual actions on each attached device.

Example: a piece of pipe supporting a single valve, equipment that does not support predefined behaviors…

- Others support complex control strategies that are strictly equipment dependent and simply called by phases.

- Example: reactor jacket temperature control

- Sequential control may exceptionally appears in CM Control as long as it is necessary for a proper equipment handling

- Example: “pump to process” may request first to simultaneously start the pump and open the inlet valve, then wait the pressure has raised before opening the outlet valve.

- FA rules applied to CM modularization allow controlling Flows in order to prevent incompatible or dangerous device actions. That control can be effective in Auto mode against inconsistent Phases control actions or erroneous Procedural strategies as well as in Manual mode when an operator try to directly act on the device.

- CM has a state machine that allows deterministic control.

- CM cannot be directly handled by the operator. However, DM can.

- The collection of CMs within a Process Cell or a Unit represents a “part list” of independent Elementary Equipment Entities that connect together at run time when executing Equipment Procedural Elements.

- One or more CMs are to be assembled to form a dedicated, unidentified Equipment Module to support a specific Equipment Procedural Element (EPE)

- CM can not support an EPE by itself.

- An EPE has to explicitly allocate one or several CMs in order to execute procedural control

- To be continued….

# E3 Breakdown rules

This section define the rules for E3 breakdown. Because it does not deal with control, E3 (Elementary Equipment Entity) term is used instead of CM (Control Module)

## Types of E3

4 types of E3 have been identified. Because FA was manly applied to batch chemical processes, other types may be defined or current types may have extended definitions. The distinction in types may be used to differentiate the modeling rules and implementation constraints within a particular implementation.

- Material type

This kind of E3 participates to the product transformation or movement: pipe, tank, reactor, transfer line, conveyor, product side of an exchanger…

- Energy type

This kind of E3 controls energy through the process cell: reactor heating jacket, energy side of an exchanger, vacuum system, agitator

- Sky type

This kind of CM has been defined to deal with 2-chemical phase equipments in order to allow parallel control using separate phases. This help to deal with CMs allocation constraint that prevents 2 phases to use the same CM (the reactor vessel in the example).

Example: the liquid side (lower part) of a reactor is member of the “Material” CM that can hold the product, while the gaseous upper part of the reactor is member of the “Sky” CM controlling the pressurization

This type is bio-chemical specific. Other additional type may be defined for other processes.

- Utility type

This kind of CM corresponds to common resources delivering or receiving fluids or energy to or from the process cell. It has no direct contact with the product being manufactured. It is generally shared by several Units or Process Cells: Compressed Air supply, N2 distribution, waste collection, venting system.

## Breakdown rules

Rule # 1 : Fluid uniqueness

Only one flow can exist within a E3 .

Strictly applied, this rule may lead to an unneeded complexity. Also, mixing of 2 products can break this rule.

It generally applies to Material E3s, not to Utility E3s

Rule # 2 : Closed section

An E3 is limited by flow breaks up: its stops everywhere the flow may be interrupted. This rule is mentally applied to piped installation by “blowing” in any part of the cell while the flow breakers are operating (valves are closed). The identified E3 is the under-pressure part of the cell.

## Aggregation constraints

When a set of equipment works independently by always controlling all its equipment entities, it can be grouped as a unique E3. The following constraints must be checked

Constraint # 1: Flexibility

The preceding rules lead to the most refined breakdown. If a bigger E3 are defined, it is important to consider the required flexibility by checking if different parts of the same E3 would be used by different phases at the same time.

Constraint # 2: FBD safety interlocks requirement

Also, a coarse breakdown may lead to lose the benefit of secured operation, which is basically  the intent of the Flow Analysis.

Constraint # 3: Reusability

Combined equipment may not be the best choice if similar but different equipment of such a sort can be found in the plant. Reusability may suggest to isolating equipment subsets that are fully standards and match the actual equipment once assembled.

# From E3 to CMs and DMs

## Control Modules

E3 identification is based on physical equipment only, regardless the possible instrumentation.

Each E3 will correspond to a Control Modules.

In some cases, extra E3 that do not comply with the previous strictly equipment oriented rules may be identified. That could be the case for controlled physical measurement that are not part of any mechanical part of the equipment acting on one or several actuators. Example : a remote vision system coupled with a controller acting on some instrument somewhere in an upstream part of the system.

## Device Modules

Defining DMs is a classical engineering activity whatever is the chosen control design  methodology. DMs correspond roughly to the instrument list.

Each instrument is controlled by a DM. It has one or several connections (I/O)  with the control system. These I/O are consistently identified, monitored or driven by the corresponding DM.

Each DM is statically attached to the CM it is physically connected to.

## Uniqueness of actuator control

Because of the attachment of Device Modules to Control Modules and the mandatory exclusive allocation of Control Modules by Phases, the origin of an actuator command is always known.

This is not the case in classical implementations where CMs command can be issued from any Phase at any time.

However, this constraint imposes a very strict control design where Phases control extent is explicitly limited to the considered Flow. That may impose particular implementation features to handle bumpless changes within a Flow from outside the phase (by recipe procedure).

Example: Change a speed control strategy of an extrusion system would need a new call of the corresponding control module by the allocating phase. The previous execution instance of the phase should be killed and CM should be free before the new context is established, which normally leads to stop the driver DM during the transition and would disturbs the process.

## Flow Breaking Devices

Special attention is to be paid to devices that are at the boundaries between two or more CM.

### FBD attachment Rules

As any DM, an FBD is attached to only one CM. However, being physically at the boundary between several CMs, arbitration is involved to select the appropriate owning CM. Although this choice may not be critical, practical rules have been established based on successful implementations.

Rule 1: Upstream attachment

That rule applies to material E3. FBD is attached to the upstream CM considering the normal flow direction.

Rule 2: Process Side attachment

That rule applies to FBD that link a utility E3 to the process. FBD is attached to the process side, not to the utility side whatever is the direction of the utility fluid.

### Adjacent CMs identification

CMs that an FBD links to its owning CM are “adjacent” to it.

This actual physical adjacency may be taken into account in the physical modeling depicted in the control system:

- This allows support of FA application services. (see section 9)

- FBD fault may be propagated to the adjacent CMs in order to handle a possible flow integrity or cross contamination concern

If this adjacency does not constraint the control design, it should be ignored by the control system.

# Applications of flow analysis

Flow Analysis methodology implies several protection services implementation based on its concepts. By definition, they are product-focused safety oriented.

## Flow Integrity Interlocking

The first historical application was the “flow interlock” that allows only specified flows to occur.

In the following figure, the active phase allocates CM2 and CM3 in order to fill the tank (CM3) using the bottom inlet line (CM2).

Because FBD2 sees its both bound CMs allocated by the same phase, it accepts any command from the phase (in auto mode) as well as by the operator  (in manual mode).

However, FBD1 and FBD3 will not accept any command and will be forced in their default state because of the CMs allocation discrepancy they detect.

Note:

By this way, totally manual operation may be supported in a secured environment by defining empty phases that only allocate the CMs that make up the involved Flow.

Figure 7 Flow Integrity Interlock

## Content Compatibility Interlocking

Unit centric approach is generally much too coarse to deal with CIP / SIP requirement. The following example shows how content-related information may be managed and used at the CM level.

The simplified example bellow shows a possible implementation. Each CM holds the following data:

- Actual Product : each time the CM is used and FBD operate, the product ID of the corresponding CM is updated.

- Batch ID : Information about the current batch being produced is updated when the phase allocates the CM.

- Sanitary status : Information about the cleanness of the CM is maintained according the related events. For example:

  - The “Clean” value of the status is acquired after a successful CIP procedure

  - The “Dirty” value ay be set after a number of batch

- The FBD will operate only if the content at both side of the FBD is compatible according a matrix:

Figure 8 – Product Compatibility Interlock

## Capacity Constraint Interlocking

Smart scheduling may define the best route to execute a Batch. However, actual usage of resources may be conditioned by its effective ability to answer a usage request.

This is often the case for expensive utilities that supply many using production systems.

Mastering flows opens an interesting mean to manage capacity constrained resources. The following figure shows a possible usage of capacity information at CM level to authorize the resource usage according its actual capability.

Figure 9 – Capacity constrained resources interlock

## Production Information Management

Production information encompasses many data related to physico-chemical, equipment and operational context.

These data may be classified in 2 categories:

- Data from related to process control execution: control recipe, status, time of execution, manual alteration of Recipe Procedural Elements, Recipe side of exception handling, identification of operator in charge of the recipe supervision

- Data related to equipment control execution: CMs operation, DMs modes of operation, identification of operators acting on actuators in manual (who may be different from the operator in charge of recipe execution), physical data trends.

- The first category is generally handled by Batch execution software that has all the needed information.   However the second category is generally not managed in the same way. The huge amount of information from the equipment can not be passed to the Batch execution software: it is simply stored in a time-stamped database. Later, this information can be retrieved using the time information to consolidate batch reports. Specific add-ons to data historian allow a smarter data collection by consolidating the information with the actual batch Id.

- However, none of these approaches allows a strict and straightforward context-aware data collection. The accuracy of the context relies on system clocks and a perfect alignement between the control scheme and the data collection scheme.

- Using FA requirements such as CM allocation and content management, the context of process and equipment operation information is known and deterministic.

- This allows a low-level data collection handling that enforces and guarantees the context identification:

- Data is recorded within the equipment control system with all contextual information: Operator Id, Time-stamp, Batch Id, Equipment, Acting phase ,

- The recorded information fills a local buffer: no information is lost in case of network problems or overload.

- This buffer is transferred into the data historian system at a specified rate, optimizing the network traffic.

# Exception handling

## Overview

Designing a control system in order to address its intended purpose (i.e. make product) when everything happens as it should is the easy part of the job.

However, dealing with undesirable situations often requires an more important effort. Unexpected situations management is an even more challenging issue.

Exception handling corresponds to this part of control that deals with all these abnormal situations. Some authors state that 50 to 80 % of control design is consumed by exception handling.

- Fortunately, S88 provide a suitable basic framework for dealing with exception handling. Consistent modular control is one of the key  to facilitate exception handling:

- An object (such as RPE, EPE (Phases), Control Modules and Device modules) reacts to the events they monitor within their area of control.

- These events may correspond to normal, expected changes, to simple alarms that do not need to be notified to other objects or to exceptions that may need to be considered from outside the originating context.

- Any object may have a “FAULT” state that may be further qualified in order to refine the internal exception handling

- Fault states are generally propagated up within the control hierarchy: the supervising object reacts to exceptions born in dependent objects

- Several kind of exception can be considered:

- Personnel and environment safety exception

- Product related exception

- Equipment malfunction exception

- Depending how the exception is managed, exception can be managed

- Within equipment control

- Within recipe procedural control

- Independently. This is often the case for safety related exceptions which result from risk analysis and what-if review that do not presume a specific procedural stage of the process. In this case, exceptions lead to specific actions on devices regardless the current operating control. The effect on normal equipment control gets “command discrepancies”

## FA exception handling

### At Device Modules level

- Application based on Flow Analysis benefits of a consistent basis to deal with exception at the actuator level as much as possible.

- because of the actuator control uniqueness, exceptions from DMs may be propagated up to the controlling phase (through CM)

- Interlocks at the DM level cover most of the equipment and processing failure related exception handling

- Manual control does not need specific attention

- Flow Breaking Devices are specifically managed regarding adjacent CMs

- Because of CM allocation, there is no need to define phase interlocks that would prevent erroneous phase activation (by recipe procedure or by operator)

- Secured manual control allows to give the operators the responsibility of dealing with exceptions instead of defining automatic recovery at first. Later, exception handling may be further automated according the actual process operation experience.

- The following standard rules have been identified:

- Fault from an FBD switch the owning CM to its “FAULT” state: this is a normal bottom-up propagation because a faulty FBD affects the area of control extent defined for the acting phase

- Fault from an FBD switch all adjacent CMs to their “FAULT” state: because a faulty FBD may affect the flow integrity, adjacent CMs share the same concern about this DM that the owning one. Remember that the rule for attaching an FBD to a bounding CM rather another one is arbitrary. The role of the FBD regarding the flow control is the same for all concerned CMs.

- Faults from non-FBD DMs only raise local alarms that may be propagated as information only to upper supervising objects.

Figure 10 – DMs fault propagation

### CM level

### Phase level

### Example of fault propagation

Figure 11 – General Fault propagation

To be continued…

# Objects design considerations

This section provides detailed information in order to facilitate FA implementation in control systems.

## Device Module design

### Overview

The following figure shows the overall control links that drive a DM in the particular case of Flow Breaking Devices.

- Manual commands from Operators

- Auto Commands from the owning Control Module

- Inherent FA interlocks (Flow Integrity, Content Compatibility, Capacity Constraints)

- Non-contextual Interlock Tasks that protect equipment and product

- Non-contextual Safety Tasks that protect personnel & environment

Figure 12 – Device Module control

### Suggested attributes of Dms

Information

Owning CM

Adjacent CMs

Allocating Phase (from owning CM)

Allocating Phases of adjacent CMs

Operator Id

Batch Id

Product Id

To be continued…

## Control  Modules design

### CM state chart

| State | Description | Features |
| --- | --- | --- |
| FREE | The Resource is Free and can be allocated by an EPE | All attached DMs are released Exceptionally a logic may be executed leading to activate DMs. Internal data are not implicitly reset. They keep their last actual value. |
| (ALLOCATED) | The Resource is allocated by an EPE | This state does not exist by itself. An allocated CM has one of the following states. |
| RUNNING | The allocating EPE has asked the CM to RUN | DMs are activated following the defined behaviour and commands from allocating EPE |
| STOPPED | - - The default state when CM is allocated. - - The allocating EPE has asked the CM to STOP | All attached DMs are released Stopping logic may be needed Internal data are not implicitly reset |
| FAULT | One CM exception is active | The attached DMs are positioned according the state’s logic (generally, all DMs are released) The allocating EPE switch to its FAULT state |

### CM suggested attributes

To be continued…

# Annexes

(informative)

## Implied Project methodology

FA analysis relies on an analytical method based on physical equipment reality. It appears to be a bottom-up approach at first. However, systemic consolidation is still needed to validate the design.

The figure bellow shows the main aspect of control specification life cycle with their inter-dependencies:

Figure 13 – Control Project specification lifecycle

To be continued…

## Annex A – E3 Breakdown examples

Example of control loops in CMs

Figure 14 – Regulatory control possible implementation

To be continued…

(see JMR86-R01-2001_v3 document)

## Annex C Method history and evolution

References

Main stages

ASTRID

Delta Nodes

SureBatch

…

To be continued…

## Annex D : Implementation exemple

based on Milkshake EBF example…

## Annex E - Usage Questions (FAQ)